IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

This notice contains important information regarding your drinking water, please read the Spanish notice if it is included. If the Spanish notice is not included, please contact the water system and ask for a copy.

Este informe contiene informacion muy importante sobre su agua potable. Traduzcalo o hable con alguien que lo entienda bien.

MONITORING REQUIREMENTS NOT MET FOR PLEASANT VALLEY MUTUAL WATER CO

Our water system failed to monitor as required for drinking water standards during the past year and, therefore, was in violation of the regulations. Even though this failure was not an emergency, as our customers, you have the right to know what you should do, what happened, and what we did to correct this situation.

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During August 2024 we did not sample well #11 for nitrate and therefore, cannot be sure of the quality of our drinking water during that time.

What should I do?

- There is nothing you need to do at this time.

- The table below lists the containments we did not properly test for during the last year, how many samples we are required to take and how often, how many samples we took, when samples should have been taken, and the date on which follow-up samples were taken.

| Contaminant | Required Sampling Frequency | Number of Samples Taken | When All Samples Should Have Been Taken | When Samples Were or Will Be Taken |
| --- | --- | --- | --- | --- |
| NITRATE | Yearly | 1 | August 2024 | March 2025 |

- If you have health issues concerning the consumption of this water, you may wish to consult your doctor.

What happened? What is being done?

Sampled Nitrate

For more information, please contact Jerry Doran at 805-482-5061 or jerry@pvmwc.com or 1863 Las Posas Rd. Camarillo CA 93010

Secondary Notification Requirements

Upon receipt of notification from a person operating a public water system, the following notification must be given 10 days [Health and Safety Code Section 116450 (g)]:

- SCHOOLS: Must notify school employees, students, and parents (if the students are minors).

- RESIDENTIAL RENTAL PROPERTY OWNWERS OR MANAGERS (including nursing homes and care facilities): Must notify tenants.

- BUSINESS PROPERTY OWNERS, MANAGERS, OR OPERATORS: Must notify employees of businesses located on the property.

This notice is being sent to you by Pleasant Valley Mutual Water Co.

State Water System ID#: CA5610008

Date Distributed: 11/7/2025